DILUTION EXPERIMENT

Solutions Needed:

- DNA Stock

- TE Buffer

Apparatus Needed:

- Microcentrifuge tubes

- Disposable cuvettes

Spectrophotometer

Dilution of a DNA Stock

- Label 3 microcentrifuge tubes as dilution tubes number 1, 2 and 3.

- Pipet 90 µl of TE buffer solution into each microfuge tube. (Use the 200 µl pipetman)

- Pipet 10 µl of your DNA stock solution into each microcentrifuge tube. (Use the 20 µl pipetman)

- Vortex the contents of your tubes and use the centrifuge to ensure that all of your solution is in the bottom of the tube.

- Use the Nanodrop Spectrophotometer to determine the concentration of your DNA stock solution. (Read the instruction on how to use the Nanodrop Spectrophotometer)

- Determine the precision and accuracy of your readings.