WEEK 1 (April 5 - 9, 2004)

INTRODUCTION OF COMMON TECHNIQUES USED IN MOLECULAR BIOLOGY

STRATEGY

I. DILUTION EXPERIMENT

II. GEL ELECTROPHORESIS

III. POLYMERASE CHAIN REACTION (PCR)

I. DILUTION EXPERIMENT

Solutions Needed:

- DNA Stock

- TE Buffer

Apparatus Needed:

- Microcentrifuge tubes

- Disposable cuvettes

Spectrophotometer

Dilution of a DNA Stock

- Label 3 microfuge tubes as dilution tubes number 1, 2 and 3.

- Pipet 90 ul of  TE buffer solution into each microfuge tube. (Use the 200 ul pipetman)

- Pipet 10ul of your DNA stock solution into each microfuge tube. (Use the 20 ul pipetman)

- Vortex the contents of your tubes and use the centrifuge to ensure that all of your solution is in the bottom of the tube.

- Use the spectrophotometer to determine the concentration of your DNA stock solution.

Note:  To convert the number obtained from the spectrophotometer into concentration, use the following formula:

Concentration = [Reading @ 260 nm] x [Dilution] x [33 ug/ml]