POLYMERASE CHAIN REACTION (PCR)

Reagents and Apparatus Needed:

- 10x Ex-Taq buffer (PanVera Inc.) came with the Ex-Taq DNA polymerase

- dNTP mix (PanVera Inc.) came with the Ex-Taq DNA polymerase

- Ex-Taq DNA polymerase (PanVera Inc.)

- Sterile water

- 12 M Forward primer

- 12 M Reverse primer

- 0.2 ng/L Arabidopsis genomic DNA

- 1.5 mL sterile microcentrifuge tubes

- 0.2 mL sterile microcentrifuge (or PCR) tubes

- P-20 pipetman

- P-200 pipetman

- Filtered Pipet tips (1-40 L and 1-200 L) for PCR

- Rack for 1.5 mL microcentrifuge tubes

- PCR Rack for 0.2 mL microcentrifuge tubes

- Gloves

- Black Ultra-fine sharpie pen

- Ice bucket or plastic container

- Microcentrifuge

- PCR machine (MyCycler, BioRad)

PROCEDURE

Note: ALWAYS wear gloves when performing PCR preparation to prevent contamination.

- Get ice from an icemaker in room 2911.

- Thaw out tubes of 10x Ex-Taq buffer and dNTP mix on a microcentrifuge rack for 1.5 mL microcentrifuge tubes at room temperature for 5-10 minutes. Once the solutions are thawed out, put the tubes on ice until needed.

- Thaw out Forward and Reverse primer solutions corresponding to a gene to be knocked out at room temperature as in step 2.

- Obtain FOUR 0.2-mL sterile microcentrifuge (or PCR) tubes and set them on a PCR rack for 0.2 mL microcentrifuge tubes.

- Label Name and Date on the lids and sides of the tubes as follows: (your TA will show you how to write on the tubes)

Tube #1: "Name of a gene" to be knocked out (same name as primer's gene)

Tube #2: Neg. 1 (Negative control for the gene to be knocked out containing same 		components as in tube #1, but NO genomic DNA)

Tube #3: Con (Control serving as the positive control for PCR amplification)

Tube #4: Neg. 2 (Negative control for Control containing same components as in 			tube #3, but NO genomic DNA)

- Obtain TWO 1.5 mL microcentrifuge tubes and set them on a rack for 1.5 mL microcentrifuge tubes.

- Write on the lids of the tubes with black ultra-fine sharpie as "Mmix 1" (for Master mix 1) and "Mmix 2". Keep the tubes on ice.

- Prepare Master Mix (Mmix) solutions for 3 reactions (2 samples + extra) as follows:

Mmix#1 for tubes #1 & 2

Mmix#2 for tubes # 3 & 4  (as in step 5 above)

|  | 1 reaction | Mmix 1 | Mmix2 |
| --- | --- | --- | --- |
| Arabidopsis genomic DNA (0.2 ng/L) | 2.0 L | ------- | ------- |
| Sterile water | 36.5 L | 109.5 L | 109.5 L |
| 10x Ex-Taq buffer | 5.0 L | 15.0 L | 15.0 L |
| dNTP mix | 4.0 L | 12.0 L | 12.0 L |
| 12 M Forward primer | 1.0 L | 3.0 L | 0.0 L |
| 12 M Reverse primer | 1.0 L | 3.0 L | 0.0 L |
| 12 M Con-1A primer | 0.0 L | 0.0 L | 3.0 L |
| 12 M Con-1B primer | 0.0 L | 0.0 L | 3.0 L |
| Ex-Taq DNA polymerase (5 Units/L) | 0.5 L | 1.5 L | 1.5 L |
| Total volume | 50.0 L | 144.0 L | 144.0 L |

- Pipet into each tube the reagents with order from top down (example: water, 10x Ex-Taq buffer, dNTP mix, etc.)

After pipetting all reagents into the master mix tubes, close the lids of these tubes. Mix the contents by vortexing for 5 seconds. Spin tubes in a microcentrifuge at full speed (13,200 rpm) for 10 seconds. Put the tubes back on ice.

- Prepare PCR-reaction tubes by

a. pipetting 48 L of the Mmix solution into PCR tubes (see table below)

b. pipetting 2 L of DNA or water to tubes #1-4. Immediately, mix the contents by pipetting up and down at least five times

|  | Tube #1 | Tube #2 | Tube #3 | Tube #4 |
| --- | --- | --- | --- | --- |
| Mmix 1 | 48 L | 48 L | 0 L | 0 L |
| Mmix 2 | 0 L | 0 L | 48 L | 48 L |
| Arabidopsis genomic DNA | 2 L | 0 L | 2 L | 0 L |
| Sterile water | 0 L | 2 L | 0 L | 2 L |
| Total volume | 50 L | 50 L | 50 L | 50 L |

- Turn on the PCR machine (MyCycler) by pressing and holding the "Standby" button for a few seconds.

- Put the PCR tubes in the wells of the 96-well hot plate of the MyCycler.

- Select the "Protocol Library" by pressing "F1" button.

- Select "Knockout" protocol by pressing yellow arrowheads surrounding the "ENTER" button. Once it is selected, the "Knockout" protocol is highlighted. Press the "ENTER" button.

- Under the "Choose Operation" window, "Run Protocol" is highlighted. Press the "ENTER" button to run the protocol.

- Press "F5" button to "Begin Run" the protocol.