# WEEK 5 & 6 (May 3 - 14, 2004)

DETERMINATION OF mRNA ACCUMULATION PATTERNS OF SCARLET RUNNER BEAN GENES ENCODING TRANSCRIPTION FACTORS AND SIGNALING PROTEINS BY REVERSE TRANSCRIPTION-PCR AND REAL TIME-PCR ANALYSES

Purpose:  To determine mRNA accumulation patterns of genes encoding transcription factors and signaling proteins in Scarlet Runner Bean (SRB) leaves, stem, flowers, unfertilized ovules, EARLY cotyledon-stage embryos (14-DAP), and axes of mature seeds (30-DAP).

OVERVIEW OF RT-PCR

STRATEGY

# I.  	ISOLATION OF TOTAL RNA USING QIAGEN RNEASY PLANT MINI KIT

- SYNTHESIZING FIRST STRAND cDNA USING REVERSE TRANSCRIPTASE  (REVERSE TRANSCRIPTION or RT)

III.  	CARRYING OUT PCR AMPLIFICATION (RT-PCR) ANALYSIS

IV.  	CARRYING OUT REAL TIME PCR (QUANTITATIVE PCR OR QPCR)

ANALYSIS

# OVERVIEW OF RT-PCR (Based on RT-PCR Technical Note from Invitrogen)

Cells or Tissue or Organ

RNA Isolation

AAAAAA(A)n

RNA         5'

5'                                       AAAAAA(A)n

5'                             AAAAAA(A)n

# cDNA Synthesis

# RT

AAAAAA(A)n

TTTTTT-5'

AAAAAA(A)n

# TTTTTT-5'

AAAAAA(A)n

TTTTTT-5'

PCR Amplification

PCR

TTTTTT-5'

Fw			AAAAAA-3'

Rv

>107 DNA Molecules

# I. ISOLATION OF TOTAL RNA USING QIAGEN RNEASY PLANT MINI KIT

Reference:

- Qiagen's RNeasy Plant Mini Kit Protocol (accompanied the kit).

- Sambrook et al. (1989). Molecular Cloning Manual Volume 1.

- Ambion's DNase-Free Technical Bulletin

FREQUENT ASKED QUESTIONS

PROCEDURE

- RNA ISOLATION

- DETERMINING QUALITY OF ISOLATED TOTAL RNA BEFORE DNase I TREATMENT VIA GEL ELECTROPHORESIS

- REMOVING CONTAMINATED GENOMIC DNA FROM TOTAL RNA SOLUTION USING RNase-FREE DNase I

- DETERMINING QUALITY OF ISOLATED TOTAL RNA AFTER DNase I-TREATMENT VIA GEL ELECTROPHORESIS

Materials and Reagents Needed:

- Plant organs: leaves and stem are from plants with inflorescences (3 weeks since seeds sowing), unfertilized ovules, unopened flowers from flowering plants, early cotyledon-stage (14-Days After Pollination) embryos, axes (30-DAP).

- Qiagen RNeasy Plant Mini Kit: (Cat. # 74903 for 20 extractions or 74904 for 50 extractions) containing extraction buffer, PE buffer, RNase-free water.

- DiEthyl PyroCarbonate (DEPC). Note: DEPC is suspected to be carcinogen and corrosive. Therefore, it is handled with care! DEPC inhibits RNase activity by binding to the enzyme irreversible.

- 500 mL of freshly prepared 0.05% DEPC-treated water (non-autoclaved) for cleaning up pipetman, microcentrifuge rotor and chamber, racks for microcentrifuge tubes, SpeedVac rotor and chamber, vortex.

- -mercaptoethanol (Caution: work in the fume hood because this chemical has very bad odor)

- RNA ladder (Invitrogen)

- Formamide (Ultrapure grade, Invitrogen or Gibco/BRL)

- 37% formaldehyde (Fisher)

- Ambion DNase I kit (stored at -20oC)

- Sevag (24 chloroform :1 isoamyl alcohol, v/v)

- Buffer-saturated phenol (Invitrogen)

- 3M NaOAc, pH 5.2 or 6.0

- Ice-cold 100% ethanol dedicated for RNA work

- Ice-cold 80% ethanol dedicated for RNA work

- Loading dye for RNA samples

- 10X MOPS buffer

- Autoclaved DEPC-treated (DEPC'd) water

- Agarose dedicated for RNA work

- 5 mg/mL ethidium bromide (Caution: this chemical is suspected carcinogen)

- Liquid Nitrogen (Caution: It is very cold (at least -100˚C). Avoid getting frost-bite)

- Black ultra-fine sharpie

- RNase-free spatulas

- RNase-free 14-mL disposable centrifuge tubes

- RNase-free 1.5 mL microcentrifuge tubes

- Racks for microcentrifuge tubes

- RNase-free filtered PCR tips for P-20, P-200, P-1000

- White Revco storage boxes

- Gloves (small, medium, large, or extra-large)

- Microcentrifuges

- Razor blades

- Kimwipes

- Plastic wrap

- SpeedVac

- Spectrophotometer (Nanodrop)

- Vortex

- Ice bucket or plastic container

- 55oC Waterbath

FREQUENT ASKED QUESTIONS

1. What is the maximum amount of starting material?

100 mg

2. Is the yield of total RNA the same for the same amount of starting material for different plant species?

No, the yield varies for different plant species.

3. Which lysis buffer can be used for plant materials?

- Buffer RLT (Guanidine Isothiocyanate) is used for all tissues except endosperm and tissues containing endosperms (e.g., seeds).

- Buffer RLC (Guanidine Hydrochloride) is used for seeds with endosperm

4. Is total RNA isolated with RNeasy kit free of genomic DNA?

No, most (but not all) of DNA is eliminated. Therefore, if total RNA will be used for downstream application such as Reverse-transcription-PCR (RT-PCR), then DNase-treatment must be carried out for the total RNA.

5. What is the role of QIAshredder homogenizer?

It simultaneously removes insoluble material and reduces the viscosity of the lysates by disrupting gelatinous material.

Cautions:

- All steps of the RNeasy protocol should be carried out at room temperature. During the procedure, work quickly.

- All centrifugation steps are carried out at 20-25˚C. Ensure that the centrifuge does not cool less than 20˚C.

- Keep all reagents, glassware, plasticware, and equipment RNase-free.

- Use aerosol-barrier pipet tips throughout the procedure.

- Change GLOVES frequently!

PROCEDURE

A.  RNA ISOLATION

- Label RNase-free 14-mL centrifuge tubes. Chill them on a styrofoam floater in a styrofoam box containing liquid nitrogen (filling up to one-third of the styrofoam).

- Chill RNase-free spatulas in a Dewar flask containing liquid nitrogen.

- Remove bottles/tubes containing frozen ground tissues from a –80oC freezer and set them in a styrofoam container with liquid nitrogen.

- (Option) Add small amount of liquid nitrogen to the bottles containing ground organs (leaves, stem, flower buds, etc).

- Use a chilled spatula to transfer small amount (~100 mg) of frozen ground material from the bottle to a chilled 14-mL centrifuge tube. Keep the tube in liquid nitrogen. Proceed with other tubes for all organs.

Organs					Type of Lysis Buffer used

- RLT or RLC (circle one)

- RLT or RLC (circle one)

- RLT or RLC (circle one)

- RLT or RLC (circle one)

- RLT or RLC (circle one)

- RLT or RLC (circle one)

- Aliquot an appropriate volume (= # of organs x 500 L) of lysis buffer to a 14-mL disposable tube standing on a test-tube rack. (TA will prepare lysis buffer and -mercaptoethanol).

- Add 10 L of -mercaptoethanol for every 1 mL of lysis buffer in a fume hood. Mix by vortexing for 5 seconds. Put the tube back on the rack.

Note: -mercaptoethanol is toxic and has a bad odor. It is kept in a fridge dedicated for RNA work in room LS 2826.

Volume of lysis buffer (mL)		Volume of -mercaptoethanol (L)

RLT

RLC

- Remove the chilled tube containing ~100mg of ground organ powder from the styrofoam container.

- Immediately, pipet 450 L of lysis buffer containing -mercaptoethanol into the microcentrifuge tube containing ~100 mg of starting tissue. Cap the tube. Immediately, vortex the tube vigorously for at least 1-2 minutes. Then set the tube back on a tube rack. The lysate should appear clear with no lumps of ground organ powder.

(Option) A short incubation time (1-3 minutes) at 56oC may help to disrupt the tissue. But not appropriate for an organ, such as seeds or old leaves, rich in starch.

- Repeat steps 8-9 for all organs.

- Label QIAshredder (purple) spin columns placed in 2-mL collection tubes.

- Pipet the lysate directly onto a QIAshredder spin column.

- Centrifuge at maximum speed (13,200 rpm) for 2 minutes.

- Transfer ~ 450 L of the supernatant (= volume of sample) of the flow-through fraction to a new RNase-free 1.5-mL microcentrifuge tube without disturbing the cell-debris pellet.

- Add 0.5 volume (225 L) of room temperature 96-100% ethanol to the clear lysate. Immediately, pipet to mix the mixture.

- Apply ~670 L of the mixture (including any precipitate) to an RNeasy (pink) mini column placed in a 2-mL collection tube. Close the lid of the tube gently.

- Centrifuge for 15 seconds at >10,000 rpm.

- Discard the flow-through and save the collection tubes.

Note: if the sample volume is >700 L, load aliquots successively onto the RNeasy column and centrifuge as before.

- Add 700 L of buffer RW1 to the RNeasy column. Close the lid of the tube.

- Centrifuge for 15 seconds at >10,000 rpm to wash the column.

- Discard the flow-through and collection tubes.

- Transfer the column(s) to new 2-mL collection tube(s).

- Pipet 500 L of buffer RPE onto each RNeasy column.

- Centrifuge for 15 seconds at >10,000 rpm to wash the column.

- Discard the flow-through.

- Add another 500 L of buffer RPE to the column.

- Centrifuge for 1 minute at >10,000 rpm to wash the RNeasy silica-gel membrane again.

- Discard the flow-through.

- Spin the column again for 1 minute to ensure that ethanol is removed completely from the membrane. Caution: This step is crucial because if residual ethanol is still on the membrane, it will be eluted with RNA in steps 26-29. RNA solution will float up when it is loaded on an agarose gel.

- Label on the side of RNase-free1.5-mL microcentrifuge tubes. Use a new razor blade to cut off the lids of these tubes at their hinges.

- Transfer the columns to these new tubes (supplied with the kit).

- Pipet 30 L of RNase-free water (supplied with the kit) directly onto the center of the silica-gel membrane of the RNeasy columns.

- Wait for 1 minute.

- Centrifuge for 1 minute at >10,000 rpm to elute RNA.

- Repeat steps 32-34 with 20 L of RNase-free water.

- Mix the content in the tubes. Put tubes on ice. NOTE: From this step on, KEEP RNA solution ON ICE to prevent RNA degradation.

- Determine the total volume of RNA solution using a P-200 pipetman. The volume should be ~48 L.

- Determine RNA concentration and total amount using a spectrophotometer.

Note: If Nanodrop spectrophotometer is used, there is NO need to make a dilution of RNA solution; however, if Beckman or other brand spectrophotometer is used, dilute a small volume of RNA solution to 1/50 dilution (i.e., 4 L RNA solution/200 L total volume)

Calculations:

[RNA] = (ODA260 reading) (Dilution factor) (40 g/mL.OD) = X g/mL or

= X g/L

Total amount of RNA = (X g/L) (Volume of RNA solution in L) = Y g

Records of organs and their RNA concentration and total amount

Organs			[RNA] (g/L)	Estimate total amount (g)

B. DETERMINING QUALITY OF ISOLATED TOTAL RNA BEFORE DNase I-TREATMENT VIA GEL ELECTROPHORESIS

- Prepare 1.3% Agarose Formaldehyde (AF) midi gel (10 cm x 17 cm)

100 mL

Agarose				  1.3 g

DEPC'd water				80.0 mL

10X MOPS buffer			10.0 mL

- Microwave for 2-5 minutes. Swirl to ensure that all agarose granules are melted.

- Cool the agarose mixture in a 55oC water bath for at least 30 minutes.

- In a fume hood, add 9.8 mL of 37% formaldehyde solution to the warm agarose mixture. Swirl gently to mix. Note: Avoid creating many bubbles.

- Cast the gel and allow agarose to solidify for >30 minutes in a fume hood.

- Prepare 700 mL of 1X MOPS running buffer (70 mL of 10X MOPS buffer + 630 mL of DEPC'd water) in a 1-L Erlenmyer flask. Note: 10X MOPS buffer is prepared as follows:

10X MOPS buffer		1 Liter		Final Concentration

MOPS				46.2 g		0.2 M or 200 mM

Sodium Acetate		10.9 g		0.08 M or 80 mM

0.5 M EDTA, pH 8.0		  20 mL	0.01 M or 10 mM

DEPC'd water			800 mL

- Adjust pH to 7.0 with NaOH

- Bring the final volume to 1 Liter with DEPC'd water.

- Filter the buffer.

- Autoclave for 15 minutes. The buffer turns yellow.

- Store on a reagent shelf dedicated for RNA work at room temperature.

- Prepare RNA samples for loading on the gel

- Prepare a master mix (an example for 10 Samples)

1 Sample	10 Samples

10X MOPS buffer			1.5 L		15 L

37% formaldehyde			2.6 L		26 L

Formamide (Ultrapure)		7.5 L		75 L

5 mg/mL ethidium bromide		1.0 L		10 L

- Aliquot 12.6 L of the master mix to each of the RNase-free microcentrifuge tubes containing 3.4 L RNA (or RNA+ DEPC'd H2O) and 3.4 L of RNA ladder. Mix by flicking the tube or pipetting gently up and down for 5 times.

- Heat samples to 70oC for10 minutes. Quench tubes on ice for 2 minutes.

- Add 2 L of 10X loading dye for RNA samples to each tube. Centrifuge tubes briefly to bring water condensation from the lids down. Preparation of the 10X loading buffer is shown below:

10X Loading Dye		Volume	Stock

50% Glycerol			250 L		100%

1 mM EDTA			    1 L		0.5 M EDTA, pH8.0

Bromophenol blue		~10 mg (a pinch to get blue color)

DEPC'd H2O			249 L

- Load samples on the gel. Record a pattern of the loaded samples below.

- Run the gel at ~70 volts for 1-2 hours.

Note: Because the gel is run at a low voltage, a top portion of the gel above the wells is not necessarily be excised. However, it does not hurt to excise the top of the gel after the ethidium bromide bands ran into it.

- Take a picture of the gel. Paste the picture below.

C. REMOVING CONTAMINATED GENOMIC DNA FROM TOTAL RNA SOLUTION USING RNase-FREE DNase I

Reference:  Modification from the Ambion protocol accompanied the DNase-Free components (Cat # 1906).

Important Note: This protocol is suitable for removing up to 1 g of DNA from RNA in a 25-100 L reaction volume.

PROCEDURE

- Add 0.1 volume of 10X DNase I buffer and 1 L of 2 Units/L DNase I (Ambion) to the RNA solution. One unit of DNase I is defined as the amount of enzyme that degrades 1 g of DNA in 10 minutes at 37oC (Ambion).

|  | Example |  |  |  |
| --- | --- | --- | --- | --- |
| DEPC'd water | 3.5 L |  |  |  |
| Vol. of RNA | 45.0 L |  |  |  |
| Vol. of 10X DNase I buffer | 5.5 L |  |  |  |
| Vol. of DNase I | 1.0 L |  |  |  |
| Total volume | 55.0 L |  |  |  |

- Mix the solutions gently by flicking the tubes. Spin briefly (10 seconds).

- Incubate at 37OC in a heat block for 20-30 minutes. Spin briefly in a microcentrifuge.

- To inactivate DNase I, add 0.1 volume (5.5 L) of the DNase inactivation reagent (slurry) to the sample.  Mix well by flicking the tube.

Note: Make sure the slurry is WHITE. If the DNase inactivation reagent is CLEAR,

revortex the mixture for a few seconds.

- Incubate the tube at room temperature for 2 minutes. Flick the tube once more during the incubation to redisperse the DNase inactivation reagent.

- Spin the tube at 10,000 xg for 1 minute to pellet the DNase inactivation reagent.

- Transfer the RNA solution to a new set of tubes. AVOID pipetting the PELLET! Note: If NO part of the pellet (DNase inactivating reagent) is carried over in the RNA solution, then follow steps 16-18. However, if part of the pellet is carried over in the RNA solution, then follow steps 8-15.

- (Optional) Bring the final volume to 200 L with DEPC-treated water.

- (Optional) Extract the RNA solution with buffer-saturated phenol: Sevag (3:1, v/v), followed by Sevag (2x).

- (Optional) Precipitate RNA by adding 0.1 volume of 3M NaOAc, pH 5.2 and 3 volumes of ice-cold 100% ethanol to the RNA solution. Mix the contents by inverting the tube(s) gently10-20 times.

- (Optional) Freeze the solution at -80 OC for 30 minutes or at -20 OC overnight for better recovery of RNA.

- (Optional) Spin precipitated RNA solutions at 4 OC for 15-30 minutes.

- (Optional) Wash the pellets with 1 mL of ice-cold 80% ethanol.  Spin at room temperature for 5 minutes.

- (Optional) Dry the pellets in a speedvac for 5 minutes or air-dry for at least 20 minutes.

- (Optional) Resuspend each pellet in 10 L of DEPC'd water. Keep RNA tubes on ice.

- Determine RNA concentration using a Nanodrop or Beckman spectrophotometer

Calculations (if Using Beckman spectrophotometer):

[RNA] = (ODA260 reading) (Dilution factor) (40 g/mL.OD) = X g/mL

Total amount = (X g/mL) (volume of RNA solution) = Y g

Organs			[RNA] (g/L)	Estimate total amount (g)

- Store the RNA solution at -20oC for up to 1 week or -70oC for up to 6 months.

- Alternatively, precipitate RNA as described in step 10 and keep at -70oC until use.

D. DETERMINING QUALITY OF ISOLATED TOTAL RNA AFTER DNase I-TREATMENT VIA GEL ELECTROPHORESIS

(Carry out Gel Electrophoresis as in section B)

II.  SYNTHESIZING FIRST STRAND cDNA USING REVERSE TRANSCRIPTASE

Purpose: To generate DNA template for PCR analysis.

Reference:

- Instruction Manual for iScript cDNA Synthesis Kit (Bio-Rad, Cat.#170-8890).

The iScript reverse transcriptase is RNase H+, resulting in greater sensitivity than RNase H- enzyme. iScript is a modified MMLV-derived reverse transcriptase, optimized for reliable cDNA synthesis over a wide dynamic range of input RNA.

The enzyme is provided pre-blended with RNase inhibitor.

The unique blend of oligo(dT) and random hexamer primers in the iScript

Reaction Mix works exceptionally well with a wide range of targets. This blend is

optimized for the production of targets <1kb in length.

iScript cDNA Synthesis Kit produces excellent results in both real-time and

conventional RT-PCR. Caution: when using >1 g of total RNA, the reaction

should be scaled up. For examples, 40 L reaction for 2 g, 100 L reaction for

5 g to ensure optimum synthesis efficiency.

Note:

- For every RNA sample, set up one reaction with Reverse Transcriptase (+ RT) and one reaction without Reverse Transcriptase (- RT). The -RT sample serves as a negative control for the PCR amplification step because without first strand cDNA template, there will be NO PCR product with expected size observed. However, if a PCR product is observed in the - RT sample, then RNA sample is contaminated with genomic DNA.

- Work with master mixes as often as possible to prevent FALSE negative results due missing components.

Materials and Reagents Needed:

- 5x iScript Reaction mix (came with the iScript RT, Bio-Rad, stored in a -20oC RNA Freezer, room 2918)

- Nuclease-free water (came with the iScript RT, Bio-Rad, stored in a -20oC RNA Freezer, room 2918)

- iScript Reverse transcriptase (iScript RT, Bio-Rad, stored in a -20oC RNA Freezer, room 2918)

- Total RNA samples (stored in a -20oC RNA Freezer, room 2918)

- DEPC'd water

- 42oC and 85oC dry baths (or heating blocks)

- RNase-free 1.5 mL microcentrifuge tubes

- Aerosol-barrier PCR pipet tips

- Pipetman sets

PROCEDURE

- Write down concentration of RNA sample(s) to be used.

Example:

|  | Leaves | Seeds |
| --- | --- | --- |
| RNA concentration | 0.5 g/L | 0.4 g/L |

.

- Determine a volume for 1 g of Total RNA to be added to RT reactions.

Volume of 1 g RNA = (Amount of RNA) / (concentration of RNA).

Example: For Leaves, Volume of 1 g RNA = (1 g) / (0.5 g/L) = 2 L

|  | Leaves | Seeds |
| --- | --- | --- |
| Volume | 2 L | 2.5 L |

- Use the following table as the guide to fill in volumes for total RNA and DEPC'd water.

- The volumes of components iii & iv are fixed.

- The volume of total RNA depends on concentration of the RNA sample as illustrated in steps 1 & 2.

- The volume of DEPC'd water is the difference between the Total Reaction Volume and the volumes of other components (i, iii, & iv).

- Components iii & iv will be prepared as Master mixes in step 8 (below).

|  | Components | RT Reaction |
| --- | --- | --- |
| i | 1 g Total RNA | L |
| ii | DEPC'd (or nuclease-free) water | L |
| iii | 5x iScript Reaction mix | 4.0 L |
| iv | iScript Reverse transcriptase | 1.0 L |
|  | Total Reaction Volume | 20.0 L |

- Make a "+RT & -RT" chart for RNA samples using the chart below as a guide.

| Components | Leaves +RT | Leaves -RT | Seeds +RT | Seeds -RT |
| --- | --- | --- | --- | --- |
| 1 g Total RNA | L | L | 5L | 5L |
| DEPC'd (or nuclease-free) water | 13L | 13L | 12.5L | 12.5L |
| +RT Mix | 5.0 L | ----- L | 5.0 L | ----- L |
| -RT Mix | ----- L | 5.0 L | ----- L | 5.0 L |
| Total Reaction Volume | 20.0 L | 20.0 L | 20.0 L | 20.0 L |

- Get a bucket of ice from an icemaker.

- Label on the lids of RNase-free 1.5 mL microcentrifuge tubes as "Name of the plant organ" and either "+RT" or "-RT". For example, Leaf +RT and Leaf -RT. Keep tubes on ice.

- Thaw out the following tubes of 5x iScript Reaction Mix and Nuclease-free Water at room temperature. Once the solutions are thawed out, keep the tubes on ice.

- Prepare two tubes of Master mixes (+RT Mix and -RT Mix) as follows:

- Determine a number of RT reactions to be set up.

Note: # RT reactions = # of RNA samples + 1 Extra

Example: # RT reactions = 3 = Leaves + Seeds + 1 Extra

- Write on the lid of each of RNase-free microcentrifuge tubes as "+RT mix" and "-RT mix". Keep tubes on ice.

- Remove a tube of iScript Reverse transcriptase from a -20oC RNA freezer (dedicated for RNA Work, in room 2918). Keep the tube on ice at all time to prevent degradation of enzymes such as RNase-inhibitor and reverse transcriptase in this tube.

- Pipet the following components into appropriate tubes as shown below.

|  | Components | ONE Reaction | +RT Mix (x3) | ONE Reaction | -RT Mix (x3) |
| --- | --- | --- | --- | --- | --- |
| ii | DEPC'd (or nuclease-free) water | ---- L | ----L | 1.0 L | 3 L |
| iii | 5x iScript Reaction mix | 4.0 L | 12.0 L | 4.0 L | 12.0 L |
| iv | iScript Reverse transcriptase | 1.0 L | 3.0 L | ---- L | ---- L |
|  | Total volume | 5.0 L | 20.0 L | 5.0 L | 20.0 L |

- Mix the contents by pipetting up and down five times or flicking the tube several times. Repeat for all reaction tubes.

- Spin the tubes in a microcentrifuge for 10 seconds.

- Put tubes on ice.

- Using the "+RT & -RT" chart written up earlier in step 4, pipet into +RT and -RT tubes (labeled in step 6) the following components:

- DEPC'd or Nuclease-free water

- Total RNA

- +RT Mix into +RT tubes

- -RT Mix into -RT tubes

- Mix the contents in each tube by pipetting gently up and down five times. Keep tubes on ice until the last component is added into the last RT tube.

- Transfer all +RT and -RT tubes from the ice bucket to a rack for microcentrifuge tubes on the bench.

- Incubate reaction tubes at 25oC or room temperature for 5 minutes. This step is to allow oligo(dT) and random primers annealing to messenger RNA in the reactions.

- Incubate reaction tubes at 42oC for 30 minutes on a dry bath (or heating block). This step is to synthesize first strand cDNAs.

- After 30 minutes at 42oC, inactivate reverse transcriptase, which is known to interfere with Taq DNA polymerase in the PCR amplification step, by heating the mixture at 85oC for 5 minutes.

- Chill the tubes on ice for at least 2 minutes.

- Centrifuge the tubes at room temperature for 1 minute to bring down water condensation on the lids of the tubes. Note: The RT reactions are ready for PCR amplification step.

- Store RT reactions in a -20oC freezer if they are not used for the same day. Otherwise, keep them on ice while setting up the PCR amplification step.

- CARRYING OUT PCR AMPLIFICATION (RT-PCR) ANALYSIS

Purpose: To amplify DNA template corresponding to mRNA that is either absent or present at different levels in different plant organs throughout plant development.

Materials and Reagents Needed:

- Reverse transcription (+RT & -RT) reactions

- 10X Ex-Taq buffer (Panvera Inc.)

- dNTP mix (Panvera Inc.)

- 12 M RT-PCR Gene-specific Fw primers

- 12 M RT-PCR Gene-specific Rv primers

- Sterile water

- Ex-Taq DNA polymerase (Panvera Inc., 5 U/L)

- Agarose

- 1X TAE buffer

- 1 KB DNA ladder (Invitrogen)

- 6X Loading buffer

- 0.2 mL PCR tubes

- 1.5 mL microcentrifuge tubes

- Microcentrifuge tube racks

- PCR Machine (Bio-Rad MyCycler or PE 9700)

- Gel apparatus

- Power supplies

PROCEDURE

- Get ice from the icemaker.

- Determine how many RT reactions, including + RT's and - RT's, will be amplified.

- Make a Table with information sush as tube #, plant organ(s), and + RT's/- RT's (see the example Table below)

| Tube # | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| Organ & RT | Leaf + RT | Leaf – RT | Stem + RT | Stem – RT | Ovule + RT | Ovule – RT |

- Label 0.2 mL PCR tubes with Number on their lids and their side and your initial on the side of the tubes.

- Put the labeled tubes on a PCR rack sitting on ice.

- Prepare a master mix for the number of PCR solutions being carried out plus 1 or 2 extra solutions as followings:

|  | 1 Reaction | Master mix for 10 Reactions |
| --- | --- | --- |
| (+ or -) RT solution | 1.0 L | 0.0 L |
| 10X Ex-Taq buffer | 5.0 L | 50.0 L |
| dNTP mix | 4.0 L | 40.0 L |
| 12 M Gene-specific (RT-PCR) Fw primer | 1.0 L | 10.0 L |
| 12 M Gene-specific (RT-PCR) Rv primer | 1.0 L | 10.0 L |
| *12 M Control (PcL1L) Fw primer | 1.0 L | 10.0 L |
| *12 M Control (PcL1L) Rv primer | 1.0 L | 10.0 L |
| Sterile water | 35.5 L | 355.0 L |
| Ex-Taq DNA Polymerase (5 U/L) | 0.5 L | 5.0 L |
| Total Volume | 50.0 L | 490.0 L |

* Control primers are used to ensure that the absence of Gene-specific PCR product in +RT samples is NOT due to technical mistakes.

7.  Pipet 49 L of the master mix to the labeled tubes.

8. Add 1 L of appropriate RT's to appropriate labeled tubes. Mix the contents by

pipetting gently up and down for five times.

- Carry out PCR reactions with the RT-PCR program containing the following profile:

- 1 cycle of 96oC, 2 min. ( 35 cycles of 94oC, 15 sec./65oC, 30 sec./72oC, 1 min. ( 7 cycles of 72oC, 1 min. ( 4oC, ∞.

- Prepare 100 mL of a 1% (or 1.5%) agarose gel in 1X TAE as usual (Use a 20-well comb).

Note: The percentage of agarose gels depend on the difference in size of two PCR

products. If there is at least 100-bp difference between two PCR products, then use a

1% agarose gel. However, if there is 50-100 bp difference between two PCR

products, then use 2% agarose gel. For example, the size of PCR products is 0.6 kb

and 0.55 kb for the control (PcL1L) and Mago nashi, respectively. The 2.0% agarose

gel resolves these two PCR products as two discreet DNA bands whereas the 1.0%

agarose gel shows these two PCR products as a single DNA band.

- Label 1.5 mL microcentrifuge tubes according to the PCR being performed.

- Add to the labeled 1.5 mL microcentrifuge tubes 10 L of PCR solution and 2 L of 6X loading dye.

- Load samples on a 1% agarose gel along with 10 L of 50 ng/L 1 Kb ladder (one on each side of the gel).

- Run the gel at 94-105 volts for 1-2 hours or until the front dye (bromophenol blue) is about two-thirds of the gel.

- Take a picture of the gel.

- Analyze the data.

IV.  	CARRYING OUT REAL TIME PCR (QUANTITATIVE PCR OR QPCR)

ANALYSIS

Purpose: To determine quantitatively prevalent levels of messenger RNA of the gene of interest in various organs.

Reference:

BioRad - The iCycler iQ Real-Time Detection System Resource Guide.

BioRad Technote 2567 - Real-Time PCR Using the iCycler iQ Detection System and Intercalation Dyes.

BioRad Technote 2593 - Real-Time PCR: General Considerations.

BioRad - Designing Primers/Probes for Real-Time PCR.

Recommendations for Optimal Results by BioRad

Due to the sensitivity of quantitative PCR, results can be easily affected by pipetting errors. Therefore, follow the following practices:

- Always prepare a master mix of iQ SYBR Green Supermix containing the primers and probe.

- Add the template DNA solution to aliquots of the master mix for optimal reproducibility of replicate samples.

- Set up at least two duplicates for each DNA solution (Recommended triplicates).

Note: Different Taq DNA polymerases require different length of HOT START period (or denaturation step at 95oC) to be activated. Improper activation of Taq DNA polymerase WILL affect QPCR results. For example, iTaq in the BioRad SYBR green supermix is activated after 3 minutes.

Materials and Reagents Needed:

- 12 M Gene-of-interest Fw primer solution

- 12 M Gene-of-interest Rv primer solution

- 12 M Control (PcL1L) Fw primer solution (used in standard reactions)

- 12 M Control (PcL1L) Rv primer solution (used in standard reactions)

- 10-fold serial Dilutions of plasmid DNA of pPcL1L starting at 1 ng/L

(such as,1 ng/L, 0.1 ng/L, 0.01 ng/L, 0.001 ng/L, 0.0001 ng/L, 0.00001 ng/L, 0.000001 ng/L)

- Sterile water

- Ice bucket and ice

- 2X SYBR Green Supermix (BioRad, cat.# 170-8882) is composed of

100 mM KCl,

40 mM Tris-HCl, pH 8.4

0.4 mM of each dNTP (dATP, dCTP, dGTP, dTTP)

iTaq DNA polymerase (50 Units/mL)

6 mM MgCl2

SYBR Green I (DNA intercalator is >25X more sensitive than ethidium bromide),

20 nM Fluoresein,

Stabilizers

- Aerosol-barrier (PCR) pipet tips

- A pipetman set (P-10, P-20, P-100, P-200, P-1000)

- Vortex mixer

- Optical 96-well PCR plates or 0.2-mL PCR tubes in strips of 8 with individual caps

- 1.5 mL sterile microcentrifuge tubes

- Rack for 1.5 mL sterile microcentrifuge tubes

- PCR rack for Optical 96-well plates or 0.2-mL PCR tubes

- Real-Time PCR detection system (iCycler)

PROCEDURE

1. Get ice from the icemaker.

2. Thaw out 12-M primer solutions and 2X SYBR Green Supermix (BioRad). Keep the thawed primer solutions and 2X SYBR supermix on ice.

3. Prepare solution mixes for Standard curve (See the Table 1 below).

Note: For each dilution of DNA template (for example, 1 ng/L), we need to have a solution mix for 2 reactions. Therefore, we prepare a tube of solution mix (example, Mix A) for 2.5 reactions (including extra).

a. Label 1.5-mL microcentrifuge tubes A to H and put them on a microfuge rack.

b. Pipet 122.5L of Std mix (see Table 3) to each tube (A to H).

c. Add 2.5 L of serial diluted DNA solutions or sterile water into appropriate tubes.

Vortex for 5 seconds to mix the contents.

d. Spin tubes in a microcentrifuge for 10 seconds. Put tubes on ice.

Table 1: Preparation of solution mixes for standard curve

| Solution Mix | A | B | C | D | E | F | G | H |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Components | One Reaction | 1 ng/L | 0.1 ng/L | 0.01 ng/L | 0.001 ng/L | 0.0001 ng/L | 0.00001 ng/L | 0.000001 ng/L | No DNA |
| pPcL1L DNA | 1 L | 2.5 L | 2.5 L | 2.5 L | 2.5 L | 2.5 L | 2.5 L | 2.5 L | * |
| Sterile water | 22 L | 122.5 L Std Mix | 122.5 L Std Mix | 122.5 L Std Mix | 122.5 L Std Mix | 122.5 L Std Mix | 122.5 L Std Mix | 122.5 L Std Mix | 122.5 L Std Mix |
| 12 M PcL1L-Fw primer | 1 L |  |  |  |  |  |  |  |  |
| 12 M PcL1L-Rv primer | 1 L |  |  |  |  |  |  |  |  |
| 2X SYBR supermix | 25 L |  |  |  |  |  |  |  |  |
| Total Volume | 50 L |  |  |  |  |  |  |  |  |

*: Add 2.5 L of sterile water. Standard (Std) mix is prepared in Table 3 below

4. Prepare Experimental reactions (see the example in Table 2 below).

a. Label 1.5-mL microcentrifuge tubes 1 to 5 and put them on a microfuge rack.

b. Pipet 122.5L of Exp'tal mix (see Table 3) to each tube

c. Add 2.5 L of c DNA solutions or sterile water into appropriate tubes. Vortex

tubes for 5  seconds to mix the contents.

d. Spin tubes in a microcentrifuge for 10 seconds. Put tubes on ice.

Table 2: Preparation of Solution Mixes for Experimental Reactions

|  | Leaf | 14-DAP Embryo | - Control |
| --- | --- | --- | --- |
| Components | One Reaction | +RT Mix (1) | -RT Mix (2) | +RT Mix (3) | -RT Mix (4) | No DNA (5) |
| cDNA | 1 L | 2.5 L | 2.5 L | 2.5 L | 2.5 L | * 2.5 L |
| Sterile water | 22 L | 122.5 L Exp'tal Mix | 122.5 L Exp'tal Mix | 122.5 L Exp'tal Mix | 122.5 L Exp'tal Mix | 122.5 L Exp'tal Mix |
| 12 M Gene-specific Fw primer | 1 L |  |  |  |  |  |
| 12 M Gene-specific Rv primer | 1 L |  |  |  |  |  |
| 2X SYBR supermix | 25 L |  |  |  |  |  |
| Total Volume | 50 L |  |  |  |  |  |

*: Add 2.5 L of sterile water. Experimental (Exp'tal) mix is prepared in Table 3 below

5. Prepare master mixes (see the example Table 3 below).

a. Label 1.5-mL microcentrifuge tubes as Std. Mix and Exp. Mix. Keep tubes on ice.

b. Pipet components starting from top (water) down into appropriate tubes.

c. Vortex the tubes for 5 seconds to mix the contents.

d. Spin tubes in a microcentrifuge for 10 seconds. Put tubes on ice.

Table 3: Preparation of standard (Std) and experimental (Exp'tal) mixes

| Components | Std Mix (x 25 rxns = 20 rxns + extra) | Exp'tal Mix (x 15 rxns = 10 rxns + 2.5 rxns w/ No DNA + extra) |
| --- | --- | --- |
| Sterile water | 550 L | 330 L |
| 12 M PcL1L - Fw primer | 25 L | -------- |
| 12 M PcL1L - Rv primer | 25 L | -------- |
| 12 M Gene - Fw primer | ------- | 15 L |
| 12 M Gene - Rv primer | ------- | 15 L |
| 2X SYBR supermix | 625 L | 375 L |
| Total Volume | 1225 L | 735 L |

6. Label on the side of every two 0.2-mL PCR tubes in strips of 8 with individual caps as followings:

SA, SB, SC, SD, SE, SF, SG, SH (for Standard)

1, 2, 3, 4, 5 (for Experimental)

Caution: Do NOT write on the caps of the tubes because during PCR cycles, a laser beam goes in the tubes through the cap into the solution for measuring the amount of DNA being intercalated by SYBR green dye. Also, make sure that the caps are clean.

7. Pipet 50 L of solution mixes (A - H in Table 1) and experimental mixes (1 - 5 in Table 2) into appropriate labeled 0.2 mL PCR tubes.

8. Turn on the BioRad iCycler and its OPTICAL System power source on the right side of the iCycler. Allow the lamp to warm up for at least 10 minutes.

9. Turn on the Toshiba laptop that runs the iCycler.

10. Open the iCycler program.

11. Organize the tubes into wells of the heat block of the BioRad iCycler starting from the top row down and from left column to right (see the chart below). This step is very important because name of samples will be entered into a file so that during PCR cycles, you can follow at which cycles (CT = Threshold cycle) samples A and B are.

| 1 2 3 4 5 6 7 8 9 10 11 12 |
| --- |
| A B C D E F G H |  |  |  |  |  |  |  |  |  |  |  |  |

12. Enter all information into an iCycler file by following the instruction for operating the iCycler. (TAs will help entering information).

13. Run the iCycler with a protocol " 3 Step Amp + Melt.tmo" for an amplification and melt-curve protocol that has a following profile: 95oC, 3 min ( 40 cycles of 95oC, 10 sec./ 60oC, 30 sec./ 72oC, 30 sec ( 80 Repeats of Melt-Curve.

14. It would take about 2-3 hours to get the results which are in the rich-text format. That means, the data can be opened with a Microsoft WORD program.